SIGHT GLASS INQUIRY FORM

COMPANY INFO:

COMPANY NAME:    Lawrence Berkeley National Laboratory YOUR NAME:  Derek ShumanE-MAIL:dbshuman@lbl.govPHONE #:510-486-4662

PLEASE LET US KNOW WHAT YOU ARE LOOKING FOR:

QUANTITY: 40HOUSING TYPE (NPT, ASME, flange): CF Flange, CP grade titanium (ASME SB-265 specification grade 4 preferred)HOUSING SIZE: NW100CF (6 inch OD standard conflat)CLEAR APERTURE SIZE REQUIRED:76mm

WINDOW MATERIAL: sapphireCLARITY REQUIRED (i.e. indicator only, inspection, low resolution, imaging, precision laser measuring, etc.):inspection

WAVELENGTH TRANSMISSION REQUIRED: 172 nm (80% or better)

SIGHT GLASS APPLICATION:

MAXIMUM PRESSURE:  15.0 bar (differential) external (applied to side opposite CF gasket) working pressureMINIMUM PRESSURE: 1.5 bar  (differential) internal (applied to CF gasket side) working pressureMAXIMUM TEMPERATURE (note:  maximum temp is reading at sight glass location, not temp inside chamber): 150C

MINIMUM TEMPERATURE: 10CINTERNAL OR EXTERNAL USE: External pressure design, see aboveSIGHT WINDOW APPLICATION: particle detector for physics researchCHEMICAL OR GAS EXPOSURE: Xenon gas(bulk) , CF4 (0.5%), trimethylamine (TMA) (0.5%)SPECIAL TESTING REQUIREMENTS: radiopurity survey and acceptance criteria, leak rate maximumADDITIONAL INFORMATION: We require all materials to have acceptable radiopurity for our application; finished product shall demonstrate no more than 0.4 mBq per item (U +Th combined). Raw material samples may be required before commencing production. A finished product sample may also be required to be submitted before final order. All materials used in product, including any seal interlayers or surface treatments may require divulgence. Leak rate and outgassing  to be to UHV standards (10-10 std cc/sec).

FOR A QUOTE PLEASE RETURN COMPLETED FORM TO:   jevgenij.ujukin@precision.sapptech.lt