## Slide 1
ON / OFF
ON / OFF
ON / OFF
ON / OFF
ON / OFF
ON / OFF
SD16
CX05
SD11
SD05
CX06
SD12
SD06
CX07
SD13
SD07
CX08
SD27
SD01
CX09
SD15
SD03
SD10
Stable operation Temperature Monitoring and Heater / Pressure Feedback
CX01
CX02
CX12
Level 1
Level 2
Level 3
CC 1
CC 2
CC 3
CC 4
Single
CC 5
Pressure
SD02
SD08
SD14
Vacuum Vessel
Radiation Shield
Cold Mass
Heater Power
SD26
SD25
SD23
SD19
Fill Line
Heater Power
CX11
CX10

## Slide 2
CC1
CC2
CC3
CC4
CC5
SS
Temp
Out
Temp
Out
Temp
Out
Temp
Out
Temp
Out
Temp
Out
Temp
In
Temp
In
Temp
In
Temp
In
Temp
In
Temp
In
Flow
Rate
High He Pressure
Low He Pressure
High He Temp
Oil Temp
High He Pressure
Low He Pressure
High He Temp
Oil Temp
High He Pressure
Low He Pressure
High He Temp
Oil Temp
High He Pressure
Low He Pressure
High He Temp
Oil Temp
High He Pressure
Low He Pressure
High He Temp
Oil Temp
External thermocouples for the single stage cooler.
Compressor operation monitoring

## Slide 3
Set Point
Coil Power supplies and Voltage Tap monitoring and Control
Matching Coil 1
Matching Coil 2
End Coil 1
Centre Coil
End Coil 2
Value
Value
Value
Value
Value
Ramp Rate
Voltage
VTM1
VTM2
VTM3
VTM4
VTM5
VTM6
VTM8
VTM9
VTM7
VTM1
VTM2
Set Point
Ramp Rate
Voltage
Set Point
Ramp Rate
Voltage
Set Point
Ramp Rate
Voltage
Set Point
Ramp Rate
Voltage
VTL2
VTL9
VTL10
VTL1
VTL4
VTL11
VTL12
VTL3
VTL6
VTL13
VTL14
VTL5
VTL8
VTL15
VTL16
VTL7
Contactor 3
Contactor 2
Contactor 1
Open / Close
Open / Close
Open / Close
3 Diode Drop
3 Diode Drop
3 Diode Drop
3 Diode Drop
8 Diode Drop
8 Diode Drop